|  | RV004X CAB ESSENTIAL HYGIENE PPE DISPOSABLE 3-PLY MEDICAL MASK (Pack of 50) |
| --- | --- |
| Origin: China 2842020 | Commodity Code: 6307909810 |
| Size : One Size | Tech: EU STANDARD - EN14683-2019 TYPE IIR CE CERTIFIED - MDD 93/42/EEC ANNEX VII BACTERIAL FILTRATION RATE >=99% |
| Colour: BLUE |  |
| Non-sterile, disposable, lightweight, loose fitting mask – protects against large droplets | Fabric: 100% non-woven comprising: - outer layer PP non-woven fabric - middle layer melt down non-woven filter fabric - inner layer PP non-woven fabric |
| Features: | - Non-porous mask core reduces airborne particulates - Unrestricted flexibility, easy access and lightweight - Elasticated ear loops for comfort - Single use, easy disposal - Nose clip |
| CTN QTY: 2500 in 50 PACKS of 50 | ALL ITEMS ARE NON-RETURNABLE. BRAND, CARTON QUANTITIES AND PRICES MAY CHANGE BUT WILL ONLY BE OF IDENTICAL OR SUPERIOR SPECIFICATION |

RV004XCAB DISPOSABLE 3-PLY SURGICAL MASK